## Basic_Asset_Inventory
Asset ID | Asset Description | Asset Category | Location | Quantity | Unit | Year Installed | Condition | Current Age | Expected Useful Life | Remaining Life | Replacement Value ($) | Risk Rating | Priority Action | Recommended Action | Notes
A-001 | Community Hall Roof | Building Envelope | Community Hall | 1 | Item | 2005 | Fair | 21 | 30 | 9 | 150000 | High | Continue maintenance | Plan replacement in 5 years | Replacement within 10 years
A-002 | HVAC System | Mechanical | Community Hall | 1 | Item | 2012 | Good | 14 | 25 | 11 | 40000 | Moderate | Continue maintenance | Continue preventative maintenance | Annual servicing
A-003 | Exterior Viewing Deck | Building Structure | Community Hall | 150 | m² | 1999 | Poor | 27 | 30 | 3 | 90000 | Very High | Replace immediately | Restrict access, complete engineering review, replace within 1–2 years | Structural deterioration observed
A-004 | Septic System | Plumbing | Community Hall | 1 | Item | 2004 | Good | 22 | 50 | 28 | 15000 | Moderate | Continue maintenance | Continue annual servicing and inspections | Annual servicing
A-005 | Parking Lot | Site Infrastructure | Community Hall | 1200 | m² | 1999 | Poor | 27 | 30 | 3 | 35000 | High | Address within 1–3 years | Budget for rehabilitation within 3–5 years | Surface deterioration and cracking present
A-006 | Electrical Distribution System | Electrical | Community Hall | 1 | Item | 1999 | Fair | 27 | 40 | 13 | 50000 | Moderate | Monitor and plan | Conduct periodic electrical assessment | Original service equipment remains functional
A-007 | Accessibility Ramp | Accessibility | Community Hall | 1 | Item | 2018 | Good | 8 | 30 | 22 | 15000 | Low | Routine maintenance | Continue annual inspections | Meets accessibility requirements
A-008 | Washroom Fixtures | Equipment | Community Hall | 3 | Pieces | 2016 | Good | 10 | 20 | 10 | 12000 | Low | Routine maintenance | Replace components as required | Water-efficient fixtures
A-009 | Kitchen Equipment | Equipment | Community Hall | 5 | Pieces | 2015 | Good | 11 | 30 | 19 | 25000 | Moderate | Monitor and plan | Planned replacement program | Commercial range, fridge, freezer, microwave, dishwasher

## Risk Matrix
Asset Risk Assessment
RISK MATRIX
Asset ID | Asset Description | Probability of Failure | Consequence of Failure | Risk Rating | Priority Action | Recommended Action |  | Low | Medium | High | Imminent
A-001 | Community Hall Roof | High | Serious | High | Address within 1–3 years | Plan replacement in 5 years | Critical | High | High | Very High | Very High | ↑
A-002 | HVAC System | Medium | Significant | Moderate | Monitor and plan | Continue preventative maintenance | Serious | Moderate | High | High | Very High | Consequence
A-003 | Exterior Viewing Deck | Imminent | Critical | Very High | Immediate action required | Restrict access and replace immediately | Significant | Low | Moderate | High | High
A-004 | Septic System | Low | Serious | Moderate | Monitor and plan | Continue maintenance and inspections | Minor | Low | Low | Moderate | Moderate | ↓
A-005 | Parking Lot | High | Significant | High | Address within 1–3 years | Budget for rehabilitation within 3–5 years |  | ← | Probability |  | →
A-006 | Electrical Distribution System | Low | Serious | Moderate | Monitor and plan | Conduct periodic electrical assessment
A-007 | Accessibility Ramp | Low | Significant | Low | Routine maintenance | Continue annual inspections
A-008 | Washroom Fixtures | Low | Minor | Low | Routine maintenance | Replace components as required
A-009 | Kitchen Equipment | Medium | Minor | Low | Routine maintenance | Replace equipment as required
Definitions
Probability of Failure
Rating | Description
Low | Asset is in good condition and failure is unlikely within the planning period.
Medium | Some deterioration is evident and maintenance is required to avoid failure.
High | Significant deterioration or recurring issues indicate elevated likelihood of failure.
Imminent | Failure is expected in the near term without intervention.
Consequence of Failure
Rating | Description
Minor | Minimal service disruption and low repair costs.
Significant | Noticeable disruption to users and moderate repair costs.
Serious | Major interruption to facility operations or service delivery.
Critical | Health, safety, regulatory, environmental, or major operational impacts.
Priority Action Rating Guide
Risk Rating | Recommended Priority
Very High | Immediate action required
High | Address within 1–3 years
Moderate | Monitor and plan
Low | Routine maintenance only

## Risk Matrix Revised
Asset Risk Assessment
Asset ID | Asset Description | Probability of Failure | Consequence of Failure | Risk Rating | Priority Action | Recommended Action
A-001 | Community Hall Roof | 4-High | 4-Major | 16-Very High | Address within 1–3 years | Plan replacement in 5 years
A-002 | HVAC System | 3-Medium | 3-Significant | 9-High | Monitor and plan | Continue preventative maintenance
A-003 | Exterior Viewing Deck | 5-Very High | 5-Catastrophic | 25-Very High | Immediate action required | Restrict access and replace immediately
A-004 | Septic System | 2-Low | 3-Significant | 6-Moderate | Monitor and plan | Continue maintenance and inspections
A-005 | Parking Lot | 4-High | 3-Significant | 12-High | Address within 1–3 years | Budget for rehabilitation within 3–5 years
A-006 | Electrical Distribution System | 2-Low | 3-Medium | 6-Moderate | Monitor and plan | Conduct periodic electrical assessment
A-007 | Accessibility Ramp | 1-Very Low | 3-Significant | 3-Low | Routine maintenance | Continue annual inspections
A-008 | Washroom Fixtures | 2-Low | 1-Minor | 2-Low | Routine maintenance | Replace components as required
A-009 | Kitchen Equipment | 3-Medium | 1-Minor | 3-Low | Routine maintenance | Replace equipment as required
RISK MATRIX
[7 empty] | 5 | Catastrophic | Moderate | High | Very High | Very High | Very High | ↑
Definitions | [6 empty] | 4 | Major | Moderate | High | High | Very High | Very High | Consequence
[7 empty] | 3 | Significant | Low | Moderate | High | High | Very High
Liklihood / Probability of Failure | [6 empty] | 2 | Moderate | Low | Moderate | Moderate | High | High
[7 empty] | 1 | Minor | Low | Low | Low | Moderate | Moderate | ↓
Value | Rating | Description | [6 empty] | Very Low | Low | Medium | High | Imminent
1 | Very Low | Asset is new or in excellent condition and failure is highly unlikely | [6 empty] | 1 | 2 | 3 | 4 | 5
2 | Low | Asset is in good condition and failure is unlikely within the planning period. | [6 empty] | ← | Probability |  |  | →
3 | Medium | Some deterioration is evident and maintenance is required to avoid failure.
4 | High | Significant deterioration or recurring issues indicate elevated likelihood of failure.
5 | Very High | Asset may fail imminently or in the near term without intervention.
Criticality / Consequence of Failure
Value | Rating | Description
1 | Minor | Failue is considered relatively inconsequential
2 | Moderate | Minimal service disruption and low repair costs.
3 | Significant | Noticeable disruption to users and moderate repair costs.
4 | Major | Failure may lead to major interruption to facility operations or service delivery.
5 | Catastrophic | Failure may be relatively catastrophic and have health, safety, regulatory, environmental, or major operational impacts.
Priority Action Rating Guide
Risk Rating | Recommended Priority
Very High | Immediate action required
High | Address within 1–3 years
Moderate | Monitor and plan
Low | Routine maintenance only